# Request to perform works

| Permit number: |  | Work order number: |  |
| --- | --- | --- | --- |
| Requested by name: |  | Phone number: |  |
| Company: |  | Vendor OIC name: |  |
| Start date: |  | Finish date: |  |
| Start time: |  | Finish time: |  |
| Work description: |  |

- LOCATION

| Facility: |  | Building: |  |
| --- | --- | --- | --- |
| Level: |  | Room(s): |  |
| High secure areas HSIS SMHRU EFTRU AMHU OPMHU Security escort required |

- SERVICES IMPACTED

| Electricity | Water | HVAC | Medical gas | Fire detection | Lift / Access |
| --- | --- | --- | --- | --- | --- |
| Comms | Natural / LP gas | Patient / clinical | Other (specify): |

- DOCUMENTS REQUIRED, COMPLETED AND ENDORSED

| QH induction | Site induction | Risk assessment |
| --- | --- | --- |
| Safe work method statement/s | Asbestos work area access permit | Hot works permit |
| Environmental controls (dust/ cleaning) | Confined space permit | Live works permit |
| Working at heights permit | Excavation permit | Communications room access permit |
| Fire service isolations permit | Electrical / mechanical isolations permit | Fire penetration permit |
| Engineering design and approval | Other (specify): |

- CONDITIONS

| Special conditions: |  |
| --- | --- |
| Security considerations: |  |
| Clinical considerations: |  |

AUTHORISATIONS

| Permit number: |  | Date issued: |  |
| --- | --- | --- | --- |
| Officer in charge on site: I understand the conditions of this permit and will abide by all safe work procedures. | Name: Signature: Date: |
| Ward or department approved by: (MUST be signed before approval by I&A) I approve the interruption to services specified in this permit. | Name: Signature: Date: |
| Secure areas only Clinical approval: (MUST be signed before approval by I&A) I approve the interruption to services specified in this permit. | Director of Operations / Nursing Director Forensic and Secure Services / On-Call Nurse Manager approved by: Name: Signature: Date: Security Escort required Y N |
| Secure areas only Security approval: (MUST be signed before approval by I&A) I am satisfied that persons impacted have been consulted. I approve the works specified in this permit. | Security Officer/Manager Security Services approved by: Name: Signature: Date: Security Escort required Y N |
| IT services area only: (MUST be signed before approval by I&A) I approve the interruption to services specified in this permit. | Information Technology services approved by: Name: Signature: Date: |
| Engineering sign off: These works and associated documentation have been reviewed and are approved to proceed. | Name: Signature: Date: |
| Authorised person: I am satisfied that persons impacted have been consulted. I approve the works specified in this permit. | Infrastructure and Assets approved by: Name: Signature: Date: |

- REQUEST TO PERFORM WORK SURRENDER (Officer in charge)

| I hereby certify that work is complete, all persons are accounted for and the work site has been left in a safe manner. All services have been restored. Impacted staff have been notified. | Name: Signature: Date: |
| --- | --- |

- REQUEST TO PERFORM WORK CLOSE OUT (Completed by West Moreton authorised person)

| All work associated with this Request to Perform Work has been completed and the documents returned to I&A. The permit must be closed in the permit database with associated documents attached. | Name: Signature: Date: |
| --- | --- |